## Sheet2
Victor - Multipoint Confocal (Spinning disc) excitation and emission filters |  |  | Fluo 1 | Fluo 2 | Fluo 3 | Fluo 4
FLUOROPHORES |  | Fluorophore name (including ev. nuclear dyes)
Where does the EXCITATION SPECTRUM start (in nm)?
Where does the EXCITATION SPECTRUM peak (in nm)?
Where does the EXCITATION SPECTRUM end (in nm)?
EXCITATION SPECTRA | LASERS | How well is this fluorophore EXCITED by the 405 nm laser?
How well is this fluorophore EXCITED by the 488 nm laser?
How well is this fluorophore EXCITED by the 561 nm laser?
How well is this fluorophore EXCITED by the 640 nm laser?
DICHROIC MIRRORS |  | Can a DICHROIC MIRROR which sends 431/44; 519/52; 599/55; 652LP to the sensor be used?
FLUOROPHORES |  | Where does the EMISSION SPECTRUM start (in nm)?
Where does the EMISSION SPECTRUM peak (in nm)?
Where does the EMISSION SPECTRUM end (in nm)?
EMISSION SPECTRA | EMISSION FILTERS | Write here where the 447/60 filter starts and ends:
What % of the light EMITTED by this fluorophore goes through this filter ?
Write here where the 525/30 filter starts and ends:
What % of the light EMITTED by this fluorophore goes through this filter?
Write here where the 512/30 ; 630/100 filter starts and ends:
What % of the light EMITTED by this fluorophore goes through this filter?
Write here where the 607/36 filter starts and ends:
What % of the light EMITTED by this fluorophore goes through this filter?
Write here where the 685/40 filter starts and ends:
What % of the light EMITTED by this fluorophore goes through this filter?
IMAGING STRATEGY |  | Is this fluorophore expected to be much brighter (B) or dimmer (D) than the others or is this unknown (U)?
Which EXCITATION FILTER/LASER will you use for this fluorophore, according to what you found above?
Which DICHROIC MIRROR will you use for this fluorophore, according to what you found above?
Which EMISSION FILTER will you use for this fluorophore, according to what you found above?
If you have several sensors, which fluorophores will you image simultaneously? (Pass 1, Pass 2, etc)