## Empty
BLEEDTHROUGH EVALUATION FORM - TEMPLATE |  |  | Fluo 1 | Fluo 2 | Fluo 3 | Fluo 4
FLUOROPHORE EXCITATION |  | Fluorophore name (including any nuclear dyes)
Where does this fluorophore EXCITATION SPECTRUM start (in nm)?
Where does this fluorophore EXCITATION SPECTRUM peak (in nm)?
Where does this fluorophore EXCITATION SPECTRUM end (in nm)?
EXCITATION SPECTRA | EXCITATION FILTERS | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
|  | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
|  | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
|  | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
FLUOROPHORE EMISSION |  | Where does this fluorophore EMISSION SPECTRUM start (in nm)?
Where does this fluorophore EMISSION SPECTRUM peak (in nm)?
Where does this fluorophore EMISSION SPECTRUM end (in nm)?
EMISSION SPECTRA | EMISSION FILTERS | Where does the (EMISSION FILTER SPECIFICATIONS) filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
|  | Where does the (EMISSION FILTER SPECIFICATIONS) filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
|  | Where does the (EMISSION FILTER SPECIFICATIONS) filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
|  | Where does the (EMISSION FILTER SPECIFICATIONS) filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
DICHROIC MIRRORS |  | Can the DICHROIC MIRROR that sends (DICHROIC MIRROR SPECIFICATIONS) light to the sensor be used?
Can the DICHROIC MIRROR that sends (DICHROIC MIRROR SPECIFICATIONS) light to the sensor be used?
Can the DICHROIC MIRROR that sends (DICHROIC MIRROR SPECIFICATIONS) light to the sensor be used?
IMAGING STRATEGY |  | Is this fluorophore expected to be much brighter (B) or dimmer (D) than the others or is this unknown (U)?
Which EXCITATION FILTER/LASER will you use for this fluorophore, according to what you found above?
Which EMISSION FILTER will you use for this fluorophore, according to what you found above?
Which DICHROIC MIRROR will you use for this fluorophore, according to what you found above?
If your microscope has several sensors, which fluorophores could you image simultaneously?