## Empty
IMAGING EFFICIENCY AND BLEEDTHROUGH FORM - Dragon |  | Fluo 1 | Fluo 2 | Fluo 3 | Fluo 4
FLUOROPHORE EXCITATION | Fluorophore name (including any nuclear dyes)
Where does this fluorophore EXCITATION SPECTRUM start (in nm)?
Where does this fluorophore EXCITATION SPECTRUM peak (in nm)?
Where does this fluorophore EXCITATION SPECTRUM end (in nm)?
Fluorophore EXCITATION SPECTRUM and microscope EXCITATION | With the 405 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
With the 445 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
With the 488 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
With the 514 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
With the 561 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
With the 638 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
With the 730 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
DICHROIC MIRRORS (send the EXCITATION light to the sample) | Can the DICHROIC MIRROR that sends 405/488/561/640/730 (Lasers) to the sample be used?
Can the DICHROIC MIRROR that sends 405/488/561/640 (Lasers) to the sample be used?
Can the DICHROIC MIRROR that sends 405/445/515/561/640 (Lasers) to the sample be used?
Can the DICHROIC MIRROR that sends 445/515/561 (Lasers) to the sample be used?
Can the DICHROIC MIRROR that sends BS20/80 (400-750) (20% of lasers to the sample and 80% of emission to detector) be used?
FLUOROPHORE EMISSION | Where does this fluorophore EMISSION SPECTRUM start (in nm)?
Where does this fluorophore EMISSION SPECTRUM peak (in nm)?
Where does this fluorophore EMISSION SPECTRUM end (in nm)?
Fluorophore EMISSION spectrum and microscope EMISSION filters | Where will you set the start and end of this fixed emission filter, 452/45? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where will you set the start and end of these fixed emission filter, 445/50; 675/30? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where will you set the start and end of this fixed emission filter, 482/35? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where will you set the start and end of this fixed emission filter, 700/75? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where will you set the start and end of this fixed emission filter, 740LP? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| How will you set the start and end of the virtual emission filter for any other fluorophore in your sample (pick anything from 400 to 750 nm)? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| How will you set the start and end of the virtual emission filter for any other fluorophore in your sample (pick anything from 400 to 750 nm)? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| How will you set the start and end of the virtual emission filter for any other fluorophore in your sample (pick anything from 400 to 750 nm)? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
DICHROIC MIRRORS (EMISSION) | The software adjusts automatically the dichroic mirrors.
IMAGING STRATEGY | Is this fluorophore expected to be much brighter (B) or dimmer (D) than the others or is this unknown (U)?
Which LASER will you use for this fluorophore, according to what you found above?
Which EMISSION FILTER (fixed or virtual) will you use for this fluorophore, according to what you found above?
Since this microscope has several sensors, which fluorophores could you image simultaneously?