## Empty
IMAGING EFFICIENCY AND BLEEDTHROUGH FORM - Dragon NSPARC |  | Fluo 1 | Fluo 2 | Fluo 3 | Fluo 4
Fluorophore EXCITATION | Fluorophore name (including any nuclear dyes)
Where does the fluorophore EXCITATION SPECTRUM start (in nm)?
Where does the fluorophore EXCITATION SPECTRUM peak (in nm)?
Where does the fluorophore EXCITATION SPECTRUM end (in nm)?
Fluorophore EXCITATION spectrum and microscope EXCITATION | Where does the 405 laser start and end? | From XXX to XXX
With the 405 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
| Where does the 445 laser start and end? | From XXX to XXX
With the 445 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
| Where does the 488 laser start and end? | From XXX to XXX
With the 488 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
| Where does the 514 laser start and end? | From XXX to XXX
With the 514 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
| Where does the 561 laser start and end? | From XXX to XXX
With the 561 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
| Where does the 638 laser start and end? | From XXX to XXX
With the 638 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
| Where does the 730 laser start and end? | From XXX to XXX
With the 730 nm laser, what approx. % of the EXCITATION photons excite this fluorophore?
Dichroic mirrors (send the EXCITATION light to the sample) | Can the DICHROIC MIRROR that sends the 405/488/561/640/730 lasers to the sample be used?
Can the DICHROIC MIRROR that sends the 405/488/561/640 lasers to the sample be used?
Can the DICHROIC MIRROR that sends the 445/515/561 (Lasers) to the sample be used?
Fluorophore EMISSION | Where does the fluorophore EMISSION SPECTRUM start (in nm)?
Where does the fluorophore EMISSION SPECTRUM peak (in nm)?
Where does the fluorophore EMISSION SPECTRUM end (in nm)?
Fluorophore EMISSION spectrum and microscope EMISSION filters | Where does the fixed 452/45 emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where does the fixed 482/35 emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where does the fixed 525/50 emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where does the fixed 540/30 emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where does the fixed 593/46 emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where does the fixed 700/75 emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where does the fixed 750LP emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Where does the fixed 446/33; 524/42; 600/36; 677/28 quad emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
Imaging strategy | Is this fluorophore expected to be much brighter (B) or dimmer (D) than the others or is this unknown (U)?
Which LASER will you use for this fluorophore, according to what you found above?
Which EMISSION FILTER will you use for this fluorophore, according to what you found above?