## Sheet1
IMAGING EFFICIENCY AND BLEEDTHROUGH FORM - MICROSCOPE NAME |  |  | Fluo 1 | Fluo 2 | Fluo 3 | Fluo 4
Fluorophore EXCITATION |  | Fluorophore name (including any nuclear dyes)
Where does the fluorophore EXCITATION SPECTRUM start (in nm)?
Where does the fluorophore EXCITATION SPECTRUM peak (in nm)?
Where does the fluorophore EXCITATION SPECTRUM end (in nm)?
Fluorophore EXCITATION spectrum and microscope EXCITATION filters |  | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) excitation filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
|  | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) excitation filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
|  | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) excitation filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
|  | Where does the (EXCITATION FILTER/LASER SPECIFICATIONS) excitation filter/laser start and end? | From XXX to XXX
With this filter/laser, what approx. % of the EXCITATION photons excite this fluorophore?
Only for single point confocal: Dichroic mirrors (send the EXCITATION light to the sample) |  | Can the DICHROIC MIRROR that sends the (Laser/Laser/Laser/Laser) lasers to the sample be used?
Can the DICHROIC MIRROR that sends the (Laser/Laser/Laser/Laser) lasers to the sample be used?
Can the DICHROIC MIRROR that sends the (Laser/Laser/Laser/Laser) lasers to the sample be used?
Can the DICHROIC MIRROR that sends the (Laser/Laser/Laser/Laser) lasers to the sample be used?
Fluorophore EMISSION |  | Where does the fluorophore EMISSION SPECTRUM start (in nm)?
Where does the fluorophore EMISSION SPECTRUM peak (in nm)?
Where does the fluorophore EMISSION SPECTRUM end (in nm)?
Fluorophore EMISSION spectrum and microscope EMISSION filters | Only for fixed filters | Where does the fixed (EMISSION FILTER SPECIFICATIONS) emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
|  | Where does the fixed (EMISSION FILTER SPECIFICATIONS) emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
|  | Where does the fixed (EMISSION FILTER SPECIFICATIONS) emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
|  | Where does the fixed (EMISSION FILTER SPECIFICATIONS) emission filter start and end? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
| Only for spectral detectors | Where will you set the start and end of the virtual emission filter (range)? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
|  | Where will you set the start and end of the virtual emission filter (range)? | From XXX to XXX
What approx. % of the light EMITTED by this fluorophore is collected through this filter?
Dichroic mirrors (send the EMISSION light to the sensor) |  | Can the DICHROIC MIRROR that sends the (DICHROIC MIRROR SPECIFICATIONS) light to the sensor be used?
Can the DICHROIC MIRROR that sends the (DICHROIC MIRROR SPECIFICATIONS) light to the sensor be used?
Can the DICHROIC MIRROR that sends the (DICHROIC MIRROR SPECIFICATIONS) light to the sensor be used?
Imaging strategy |  | Is this fluorophore expected to be much brighter (B) or dimmer (D) than the others or is this unknown (U)?
Which EXCITATION FILTER/LASER will you use for this fluorophore, according to what you found above?
Which EMISSION FILTER will you use for this fluorophore, according to what you found above?
Which DICHROIC MIRROR will you use for this fluorophore, according to what you found above?
If the microscope has several sensors, which fluorophores can you image simultaneously?
If any element is missing in the table, add your own row.